**NOTICE Inviting Tender (NIT)**

**Tender No 57/17**

Tenders are invited on behalf of the Principal, Krishna Chandra College, Hetampur, Birbhum from the Reputed / Registered Agencies/stockiest/dealer/supplier for the Supply, Installation, Testing & Commissioning of the following items:

|  |  |  |  |
| --- | --- | --- | --- |
| Sl | Name of the Items | Name of College | Qty |
| 1 | Projector (including accessories) | Krishna Chandra College, Hetampur | 5 |
| 2 | Online-UPS | Krishna Chandra College, Hetampur | 1 |

|  |  |
| --- | --- |
| Last Date of submitting Tender Form | 25/11/2017 up to 3.00p.m |
| Tender opening (technical bid) Date: | 27/11.2017 at 4.00 p.m |

Cost should include GST or any other taxes, delivery and installation at K C College, Hetampur. The Tenderer or the authorized representative (One person only) may be present at the time of opening of the tender.

Item Specification

|  |  |  |
| --- | --- | --- |
| Projector  (Qty: 5) | Description | Range/Feature |
| Resolution | 1024 x 768 or better |
| Lumens | Min 3600 lm (Normal) |
| Contrast Ratio | 15000:1 |
| Aspect Ratio | Native 16:9 (5 aspect ratio selectable) |
| Life of lamp in  Normal mode | Min 5000 Hrs |
| Interface: | Computer in (D-sub 15 pin), HDMI, RCA, S-Video, Audio in, Audio out, USB |
| Installation | Ceiling and Desk |
| Wired LAN | As required |
| Screen –Wall Mounted | 5’ X 7’ size |
| Accessories | Power cord, Wireless remote control, if any, Batteries for remote control, VGA cables, other cables, Carrying bag |
|  | | |
| Online UPS  (Qty: 1) | Capacity | 6 KVA |
| Battery Backup | 30 Min at full load |
| Rated battery life | 3 years or more |
| Battery stand | Suitable battery stand |
| Battery link and cabling | Suitable battery link and interconnecting copper cable from UPS to battery shall be supplied by vendor. |

Note: Parties must mention make & model no. of the equipment offered by them, with detailed specification (on separate sheet). Otherwise their tender will not be accepted.